REPORT

3D U-Net for Brain Tumor Segmentation (BraTS 2021)

Name: Ms. Pritha Ghosal

Under Supervision of: Dr. Scindhiya Laxmi

Programme: 2nd Year B.Tech IDD (CSE) – RGIPT

Duration: 16.01.26 – 14.02.26

TABLE OF CONTENTS

Part A: Methodologies – Deep Learning Models

1.  Introduction to Brain Tumor Segmentation

2.  3D Convolutional Neural Networks

3.  3D U-Net Architecture

3.1  Encoder (Contracting Path)

3.2  Bottleneck

3.3  Decoder (Expanding Path)

3.4  Output Layer

4.  Model Workflow

5.  Loss Functions Used

5.1  Dice Loss

5.2  Cross Entropy Loss

5.3  Combined Dice + CE Loss

6.  Optimization Strategy

Part B: Computational Simulations and Discussion

1.  Dataset Description – BraTS 2021

2.  Data Preprocessing Pipeline

3.  Patch Extraction Strategies

3.1  Method 1: Random Crop (Baseline)

3.2  Method 2: Tumor-Aware Crop

3.3  Method 3: Sliding Window Inference

4.  Model Implementation

5.  Training Strategy

6.  Experimental Results

7.  Challenges Faced

Part C: Cumulative Conclusions and Future Scope

1.  Comparative Analysis of Methods

2.  Key Technical Learnings

3.  Future Improvements

Final Summary

PART A: Methodologies – Deep Learning Models Used

1. Introduction to Brain Tumor Segmentation

Brain tumor segmentation is one of the most challenging and clinically significant tasks in medical imaging. The objective is to automatically identify, delineate, and classify distinct tumor subregions from three-dimensional MRI volumes — eliminating the need for time-intensive manual annotation by radiologists.

Accurate segmentation supports diagnosis, surgical planning, radiotherapy targeting, and longitudinal monitoring of tumor progression. Automated deep learning approaches offer reproducibility and scalability that manual methods cannot match.

Input Modalities (BraTS 2021)

Each patient case in BraTS 2021 contains four co-registered, skull-stripped MRI modalities:

- T1: T1-weighted MRI — anatomical baseline, highlights fat and certain soft tissues.

- T1CE: T1 with Contrast Enhancement — highlights active tumor regions with gadolinium injection.

- T2: T2-weighted MRI — sensitive to water content, highlights edema and tumour borders.

- FLAIR: Fluid Attenuated Inversion Recovery — suppresses CSF signal, reveals peri-tumoral regions.

Output Classes

The segmentation model produces a 4-class voxel-wise label map:

| Class ID | Label | Biological Description |
| --- | --- | --- |
| Class 0 | Background | All non-tumour voxels; healthy brain tissue and skull strip region |
| Class 1 | Tumor Core | Necrotic and non-enhancing core — dead/central tumour mass |
| Class 2 | Whole Tumor | Union of all tumour sub-regions including oedema |
| Class 3 | Enhancing Tumor | Actively proliferating tumour shown by gadolinium enhancement |

Evaluation Metric

The primary evaluation metric is the Dice Score per class, which measures the volumetric overlap between the predicted segmentation and the ground-truth annotation:

Dice(A, B) = 2|A ∩ B| / (|A| + |B|)

A Dice score of 1.0 indicates perfect overlap; 0.0 indicates no overlap. All three tumour classes are evaluated independently.

2. 3D Convolutional Neural Networks

Standard 2D CNNs process individual image slices and cannot capture relationships between neighbouring slices. MRI volumes are inherently three-dimensional — tumour shape, extent, and connectivity span all three spatial axes simultaneously.

3D Convolutional Neural Networks extend the convolution operation across the depth dimension (D × H × W), enabling the model to learn spatial patterns in all three dimensions simultaneously. This is essential for preserving tumour morphology and detecting inter-slice structural continuity.

Advantages of 3D CNNs over 2D for MRI

- Inter-slice context: Learns relationships between consecutive MRI slices directly.

- Tumour morphology: Captures full 3D shape, volume, and spatial boundaries of the tumour.

- Structural continuity: Detects features that span multiple slices, such as elongated tumour cores.

- Fewer artefacts: Eliminates slice-by-slice boundary inconsistencies common in 2D approaches.

3. 3D U-Net Architecture

The 3D U-Net is an encoder–decoder architecture originally proposed for volumetric biomedical segmentation. It is a direct 3D extension of the classic U-Net, replacing all 2D operations (Conv2D, MaxPool2D, etc.) with their 3D counterparts.

The architecture consists of four functional components: the Encoder, the Bottleneck, the Decoder, and the Output Layer. Skip connections bridge each encoder stage with the corresponding decoder stage, allowing the model to combine deep semantic features with fine-grained spatial detail.

3.1 Encoder (Contracting Path)

The encoder progressively reduces spatial resolution while increasing the number of feature channels. Each encoder block applies two sequential 3D convolution operations followed by normalisation and activation, then performs spatial downsampling via max pooling.

Each encoder block:

Conv3D (3×3×3, stride=1, padding=same)

↓  Instance Normalisation

↓  ReLU Activation

↓  Conv3D (3×3×3, stride=1, padding=same)

↓  Instance Normalisation

↓  ReLU Activation

↓  MaxPool3D (2×2×2) — halves spatial dimensions

Instance Normalisation is preferred over Batch Normalisation in medical imaging because it normalises each sample independently, performing better with small batch sizes (batch size = 1 in this project).

3.2 Bottleneck

The bottleneck sits at the deepest level of the network — after all pooling operations — and captures the most abstract, high-level representation of the input volume. It contains two Conv3D + InstanceNorm + ReLU blocks without any pooling, acting as a bridge between the encoder and decoder.

3.3 Decoder (Expanding Path)

The decoder progressively restores spatial resolution using transposed convolutions (learnable upsampling). At each decoder stage, the upsampled feature map is concatenated with the corresponding skip-connected encoder feature map before applying convolution blocks.

Each decoder block:

Transposed Conv3D (2×2×2, stride=2) — doubles spatial dimensions

↓  Concatenate with encoder skip connection features

↓  Conv3D (3×3×3, stride=1, padding=same)

↓  Instance Normalisation → ReLU

↓  Conv3D (3×3×3, stride=1, padding=same)

↓  Instance Normalisation → ReLU

Skip connections preserve spatial localisation details lost during pooling. Without them, the upsampled feature maps would lack fine-grained boundary information, leading to blurry segmentation masks.

3.4 Output Layer

The final output is produced by a 1×1×1 convolution that maps the decoder features to a 4-channel probability volume, followed by a Softmax activation that produces per-voxel class probabilities.

- 1×1×1 Conv: Projects feature channels to 4 output classes.

- Softmax: Produces probability distribution over classes at each voxel; argmax gives final label.

- Output shape: 4 × D × H × W → one probability map per class.

4. Model Workflow

The complete data flow through the 3D U-Net from raw input to final segmentation is illustrated below:

Input Volume  (4 channels: T1, T1CE, T2, FLAIR)  —  shape: 4 × 128 × 128 × 128

↓

Encoder Block 1  →  Conv3D → InstanceNorm → ReLU  (×2)  →  Feature Map F1

↓  MaxPool3D  (64 × 64 × 64)

Encoder Block 2  →  Conv3D → InstanceNorm → ReLU  (×2)  →  Feature Map F2

↓  MaxPool3D  (32 × 32 × 32)

Encoder Block 3  →  Conv3D → InstanceNorm → ReLU  (×2)  →  Feature Map F3

↓  MaxPool3D  (16 × 16 × 16)

Bottleneck  →  Conv3D → InstanceNorm → ReLU  (×2)  →  Deep Feature Map

↓  TransposedConv3D  (upsample → 32 × 32 × 32)  +  Concat(F3)

Decoder Block 3  →  Conv3D → InstanceNorm → ReLU  (×2)

↓  TransposedConv3D  (upsample → 64 × 64 × 64)  +  Concat(F2)

Decoder Block 2  →  Conv3D → InstanceNorm → ReLU  (×2)

↓  TransposedConv3D  (upsample → 128 × 128 × 128)  +  Concat(F1)

Decoder Block 1  →  Conv3D → InstanceNorm → ReLU  (×2)

↓  1×1×1 Convolution  →  4-channel logit volume

↓  Softmax Activation

Output: Voxel-wise Class Probabilities  →  argmax  →  Segmentation Mask

Skip connections (F1, F2, F3) pass spatial detail from each encoder stage directly to its symmetric decoder stage. This U-shaped connectivity pattern gives the architecture its name and is responsible for producing sharp, well-localised segmentation boundaries.

5. Loss Functions Used

5.1 Dice Loss

Dice Loss is derived from the Dice Similarity Coefficient and directly measures the volumetric overlap between the predicted and ground-truth segmentation. It is well-suited for medical image segmentation where tumour voxels are significantly outnumbered by background voxels.

Dice Loss = 1 − (2 × TP) / (2 × TP + FP + FN)

Where TP = True Positives, FP = False Positives, FN = False Negatives. Dice Loss is computed per class and averaged. A loss of 0 indicates perfect segmentation.

Key advantages of Dice Loss:

- Class imbalance: Naturally handles the severe foreground–background imbalance in tumour segmentation.

- Direct metric alignment: Directly optimises the same metric used for evaluation (Dice Score).

- Overlap-focused: Penalises both false positives and false negatives equally.

5.2 Cross Entropy Loss (CE)

Cross Entropy Loss is a classical voxel-wise classification loss. It computes the negative log-likelihood of the predicted probability for the correct class at every voxel independently:

CE Loss = −Σ y_i · log(p_i)

Where y_i is the ground-truth one-hot label and p_i is the predicted softmax probability. CE provides stable gradient signals especially in early training epochs and is sensitive to per-voxel misclassifications.

5.3 Combined Dice + CE Loss (Final Loss Used)

The final training loss is the sum of Cross Entropy and Dice Loss:

Total Loss = CE Loss + Dice Loss

| Loss Configuration | Training Stability | Observation |
| --- | --- | --- |
| Dice alone | Unstable | Erratic convergence in early epochs |
| Dice + Focal | Less stable | Focal weighting amplified noise in our setup |
| Dice + CE | Most stable | Consistent loss reduction; chosen for all experiments |

The combined loss benefits from CE's stable voxel-level feedback and Dice's overlap-optimisation. Together they produce the most reliable training convergence, particularly with the small batch sizes necessitated by GPU memory constraints.

6. Optimization Strategy

| Hyperparameter | Value / Setting |
| --- | --- |
| Optimizer | Adam (Adaptive Moment Estimation) |
| Initial Learning Rate | 1e-4 |
| Fine-Tuning LR Phase 1 | 5e-5 |
| Fine-Tuning LR Phase 2 | 1e-5 |
| Batch Size | 1 (GPU memory constraint) |
| Patch Size | 128 × 128 × 128 |
| Mixed Precision (AMP) | Enabled on Kaggle |
| Training Schedule | Small blocks of 3 epochs each |

Training was structured in small 3-epoch blocks to facilitate checkpoint saving, loss monitoring, and recovery from GPU crashes. The learning rate was progressively decayed across blocks to allow the model to converge from coarse to fine feature representations.

Mixed precision training (Automatic Mixed Precision, AMP) was used on the Kaggle platform to reduce GPU memory consumption and accelerate computation, particularly for the large 128³ patch inputs with batch size 1.

PART B: Computational Simulations and Discussion

1. Dataset Description – BraTS 2021

The Brain Tumour Segmentation (BraTS) 2021 challenge dataset is the standard benchmark for 3D brain tumour segmentation. It consists of pre-operative, multi-parametric MRI (mpMRI) scans of gliomas — the most common and aggressive adult brain tumours.

Dataset Characteristics

| Property | Detail |
| --- | --- |
| Format | NIfTI (.nii.gz) compressed volumes |
| Modalities | T1, T1CE, T2, FLAIR (4 per patient) |
| Annotations | Voxel-wise expert-annotated tumour masks |
| Labels | 0: Background, 1: Necrotic Core, 2: Whole Tumour, 4: Enhancing Tumour (remapped to 3) |
| Volume Size | Typically 240 × 240 × 155 voxels per modality |
| Scale | Gigabyte-scale per patient; significant I/O overhead |

All volumes are skull-stripped and co-registered to a common anatomical template, ensuring spatial consistency across modalities and patients. The label value 4 (Enhancing Tumour) is remapped to label 3 during preprocessing to create a contiguous integer class space [0, 1, 2, 3].

2. Data Preprocessing Pipeline

Each BraTS 2021 patient volume undergoes a standardised 5-step preprocessing pipeline before being fed into the model. The pipeline ensures consistent numerical ranges, proper label encoding, and manageable patch sizes for GPU training.

Pipeline Workflow

MRI Volume (raw .nii.gz files)

↓

Step 1: Load NIfTI files for all 4 modalities using nibabel

↓

Step 2: Z-score normalisation (mean=0, std=1) applied only to non-zero (brain) voxels

— Zero-padded background voxels are excluded to prevent statistics skewing

↓

Step 3: Stack 4 normalised modality volumes along the channel axis → tensor shape: 4 × D × H × W

↓

Step 4: Remap label value 4 → 3 in the annotation mask → classes: {0, 1, 2, 3}

↓

Step 5: Extract 128 × 128 × 128 patches (strategy varies per method)

↓

Ready for model input

Preprocessing Pseudocode

FOR each patient in dataset:

volumes = []

FOR each modality in [T1, T1CE, T2, FLAIR]:

vol = load_nifti(patient_path, modality)       # nibabel

mask = (vol != 0)                              # non-zero voxels

vol[mask] = (vol[mask] - mean(vol[mask])) / std(vol[mask])

volumes.append(vol)

tensor = stack(volumes, axis=0)                    # shape: 4×D×H×W

label  = load_nifti(patient_path, 'seg')

label[label == 4] = 3                             # remap label 4→3

patch, label_patch = extract_patch(tensor, label) # 128³

yield patch, label_patch

3. Patch Extraction Strategies

Three distinct approaches to patch extraction and inference were evaluated. Each strategy introduces different trade-offs between computational cost, sampling diversity, and evaluation reliability.

3.1 Method 1: Random Crop (Baseline)

In the baseline approach, each training patch is sampled by randomly selecting a starting corner within the volume bounds such that the resulting 128 × 128 × 128 crop fits entirely within the volume. No spatial bias is applied — every region of the volume has an equal probability of being selected.

Workflow

Full MRI volume  (4 × D × H × W)

↓  Select random (x, y, z) starting coordinate within valid range

↓  Extract 128×128×128 patch at (x:x+128, y:y+128, z:z+128)

↓  Feed patch + label patch to model

↓  Compute Loss  →  Backpropagate  →  Update weights

Training Details

The model was trained using the Adam optimiser with an initial learning rate of 1e-4. Training proceeded in 3-epoch blocks with checkpoint saving between blocks. Loss was monitored per block.

| Training Block | Learning Rate | Approx. Loss Range | Epochs |
| --- | --- | --- | --- |
| Initial training | 1e-4 | 1.85 → 1.70 | Block 1–3 |
| Continued training | 1e-4 | 1.70 → 1.55 | Block 4–6 |
| LR refinement | 5e-5 | 1.55 → 1.45 | Block 7–9 |
| Fine-tuning | 1e-5 | 1.45 → ~1.40 | Block 10+ |

Validation Results (Approx. Early Phase)

| Class | Label | Dice Score |
| --- | --- | --- |
| Class 1 | Tumor Core | ≈ 0.58 |
| Class 2 | Whole Tumor | ≈ 0.61 |
| Class 3 | Enhancing Tumor | ≈ 0.56 |

Random cropping produced balanced, moderate performance across all three classes. The uniform sampling strategy exposed the model to diverse regions of the volume, resulting in consistent but not class-optimal learning.

3.2 Method 2: Tumor-Aware Crop

Tumor-Aware Cropping biases patch extraction toward tumour regions. For each training sample, a voxel is randomly selected from the known tumour mask, and the 128 × 128 × 128 patch is centred around that voxel (with boundary clamping to remain within the volume). The motivation was to increase the proportion of tumour voxels per batch and improve learning for rare classes.

Workflow

Full MRI volume  +  Tumour mask

↓  Identify all non-zero voxels in tumour mask

↓  Randomly select a tumour voxel  (cx, cy, cz)

↓  Centre 128×128×128 patch at  (cx, cy, cz)  with boundary clamping

↓  Feed patch + label patch to model

↓  Compute Loss  →  Backpropagate  →  Update weights

Training Pseudocode

FOR each training step:

tumour_voxels = where(label_mask != 0)     # get all tumour voxels

idx = random_choice(tumour_voxels)         # pick one at random

cx, cy, cz = tumour_voxels[idx]           # centre coordinates

x = clamp(cx - 64, 0, D - 128)

y = clamp(cy - 64, 0, H - 128)

z = clamp(cz - 64, 0, W - 128)

patch       = volume[:, x:x+128, y:y+128, z:z+128]

label_patch = label[x:x+128, y:y+128, z:z+128]

loss = model_step(patch, label_patch)

Validation Results (20 Patients)

| Class | Label | Dice Score | Change vs Baseline |
| --- | --- | --- | --- |
| Class 1 | Tumor Core | ≈ 0.40 | ▼ −0.18 |
| Class 2 | Whole Tumor | ≈ 0.49 | ▼ −0.12 |
| Class 3 | Enhancing Tumor | ≈ 0.65 | ▲ +0.09 |

Analysis

While Class 3 (Enhancing Tumour) improved, Classes 1 and 2 degraded substantially. The model appears to have overfit to the immediate neighbourhood of the tumour centre. Several factors likely contributed:

- Reduced exposure to the tumour periphery and adjacent healthy tissue boundary.

- Loss of background context needed for distinguishing the necrotic core from surrounding tissue.

- Implicit distributional bias — the model rarely sees brain regions outside the tumour, weakening generalisation.

- Boundary clamping introduces a subtle location bias toward patches anchored at the volume edge.

Conclusion: Tumor-Aware Crop did not consistently outperform the baseline. Gains in Class 3 came at the cost of Class 1 performance, rendering it an overall inferior strategy in this experimental setting.

3.3 Method 3: Sliding Window Inference (Full Volume)

Both Method 1 and Method 2 evaluate the model on a single extracted patch, which introduces cropping bias — the evaluation result depends on which patch was selected. Sliding Window Inference eliminates this by running the trained model across the entire MRI volume using overlapping windows.

Inference Workflow

Trained model  +  Full preprocessed MRI volume (4 × D × H × W)

↓  Define 128×128×128 window with stride < 128 (overlapping)

↓  Slide window across all valid positions (D, H, W axes)

↓  FOR each window position:

Extract 128×128×128 patch

Run forward pass through model

Get 4-class probability map for patch region

↓  Accumulate predictions in full-volume prediction buffer

(overlapping regions are averaged)

↓  Apply argmax over class axis → Final segmentation mask (D × H × W)

↓  Compute Dice Score vs ground-truth label

Inference Pseudocode

pred_volume   = zeros(4, D, H, W)   # accumulated probabilities

count_volume  = zeros(D, H, W)       # overlap counter

FOR x in range(0, D-128+1, stride):

FOR y in range(0, H-128+1, stride):

FOR z in range(0, W-128+1, stride):

patch = volume[:, x:x+128, y:y+128, z:z+128]

probs = model(patch)       # shape: 4×128×128×128

pred_volume[:, x:x+128, y:y+128, z:z+128] += probs

count_volume[x:x+128, y:y+128, z:z+128]   += 1

pred_volume /= count_volume          # average overlapping predictions

final_mask   = argmax(pred_volume, dim=0)   # voxel-wise class

Validation Results (20 Patients, Sliding Window)

| Class | Label | Mean Dice Score | Change vs Baseline |
| --- | --- | --- | --- |
| Class 1 | Tumor Core | 0.4214 | ▼ −0.16 |
| Class 2 | Whole Tumor | 0.6686 | ▲ +0.06 |
| Class 3 | Enhancing Tumor | 0.6709 | ▲ +0.11 |

Sliding window inference produced the most stable and representative results. Classes 2 and 3 improved significantly, reflecting the benefit of full-volume evaluation that accounts for all tumour regions without patch selection bias. Class 1 remains lower, suggesting the model requires further optimisation for the necrotic core.

4. Model Implementation

The 3D U-Net was implemented in PyTorch. Key implementation choices are summarised below:

| Component | Implementation Detail |
| --- | --- |
| Framework | PyTorch |
| Conv3D padding | Same padding to preserve spatial dimensions |
| Normalisation | Instance Normalisation (per-sample, per-channel) |
| Activation | ReLU after each normalisation layer |
| Upsampling | Transposed Conv3D (learnable, stride=2) |
| Skip Connections | Feature concatenation along channel axis |
| Output activation | Softmax (4-class probability volume) |
| Loss function | Cross Entropy + Dice (summed) |
| Gradient clipping | Applied to prevent gradient explosion |
| Checkpointing | Saved every 3 epochs for recovery |

5. Training Strategy

Training was structured in iterative 3-epoch blocks due to GPU instability and memory constraints on free-tier cloud platforms. The learning rate was manually decayed between training blocks as the loss plateaued.

| Parameter | Value |
| --- | --- |
| Patch Size | 128 × 128 × 128 |
| Batch Size | 1 |
| Optimizer | Adam |
| Initial LR | 1e-4 |
| LR Schedule | Manual decay: 1e-4 → 5e-5 → 1e-5 |
| Training Platform | Google Colab (initial) → Kaggle (AMP, more stable) |
| Mixed Precision | AMP on Kaggle |
| Epochs per block | 3 |
| Loss tracking | Per-block average training loss |

6. Challenges Faced

A substantial portion of project time was spent on infrastructure stability rather than model development. The following challenges were encountered and resolved:

- GPU crashes (Colab limits): Free-tier Colab sessions disconnect after ~12 hours of GPU use or if the browser tab is closed. Frequent crashes required re-loading datasets and resuming from the last saved checkpoint.

- Large data loading time: Each BraTS 2021 session required decompressing and loading multiple GB of .nii.gz files. Data loading alone sometimes consumed over 1 hour per session, severely limiting experimentation time.

- Platform migration (Colab → Kaggle): Migrated to Kaggle for improved GPU stability and AMP support. This required refactoring the training loop, dataset paths, and mixed-precision configuration.

- Disk I/O bottlenecks: Repeated reads of large NIfTI volumes without caching caused significant slowdowns. Implemented pre-extraction and caching of patches to mitigate this.

- Model checkpoint handling: Managing multiple checkpoint files across sessions and platforms required careful version tracking to avoid accidentally training from an incorrect state.

- Mixed precision deprecation warnings: AMP API changes between PyTorch versions caused deprecation warnings that needed to be resolved for clean training logs.

- Dataset extraction overhead: Handling .tar.gz archives on Kaggle required additional extraction steps that consumed time and disk quota.

PART C: Cumulative Conclusions and Future Scope

1. Comparative Analysis of Methods

The three patch extraction and inference strategies were evaluated on 20 validation patients. The table below summarises the Dice scores achieved by each method across all tumour classes:

| Method | Class 1 (Tumor Core) | Class 2 (Whole Tumor) | Class 3 (Enhancing) | Overall Assessment |
| --- | --- | --- | --- | --- |
| Random Crop (Baseline) | ≈ 0.58 | ≈ 0.61 | ≈ 0.56 | Balanced; moderate performance |
| Tumor-Aware Crop | ≈ 0.40 | ≈ 0.49 | ≈ 0.65 | Biased; Class 3 gain at cost of others |
| Sliding Window (Full) | 0.4214 | 0.6686 | 0.6709 | Most stable; best Class 2 & 3 |

Sliding Window Inference achieved the best performance on Class 2 and Class 3, which are clinically the most significant. It provides an unbiased full-volume evaluation that more closely reflects real-world deployment behaviour.

Tumor-Aware Crop, despite its intuitive motivation, introduced sampling bias that degraded Class 1 and Class 2 performance substantially, making it unsuitable as a standalone strategy without complementary measures.

Random Crop remains a solid, balanced baseline and is recommended when computational resources are limited and sampling diversity is prioritised.

2. Key Technical Learnings

- 3D context is essential: Processing volumetric MRI data in 3D is non-negotiable for accurate brain tumour segmentation; 2D approaches lose critical inter-slice structural information.

- Loss function choice matters: Dice + CE combined loss is significantly more stable than Dice alone or Dice + Focal Loss in the low-batch, small-patch training regime used in this project.

- Sampling strategy strongly affects performance: The choice of patch extraction strategy introduces biases that can improve rare-class performance at the expense of overall model generalisation.

- Cropping bias distorts evaluation: Evaluating on a single random patch gives an incomplete and potentially misleading picture of model performance; full-volume inference is essential for reliable assessment.

- Sliding window improves generalisability: Full-volume inference with overlapping windows provides the most representative evaluation and should be used as the primary evaluation protocol.

- Infrastructure is a first-class concern: In practical deep learning research, GPU management, checkpointing strategy, data loading efficiency, and platform stability are as critical as model architecture decisions.

- Instance Normalisation over Batch Normalisation: For batch size 1 training with 3D medical images, Instance Normalisation consistently outperforms Batch Normalisation due to its independence from batch statistics.

3. Future Improvements

Several directions could improve upon the current results and address the limitations observed during this project:

- Class-balanced sampling: Develop a hybrid sampling strategy that dynamically adjusts the probability of tumour-centred versus random crops based on per-class validation Dice scores during training.

- Deep supervision: Add auxiliary segmentation heads at intermediate decoder levels with weighted auxiliary losses. This improves gradient flow to shallow layers and accelerates convergence for rare classes.

- Attention U-Net: Incorporate attention gates in the skip connections to allow the model to selectively amplify features from tumour-relevant spatial regions and suppress irrelevant background activations.

- HD95 optimisation: Integrate Hausdorff Distance 95 (HD95) as an additional loss term or evaluation metric to penalise large spatial outliers in predicted boundaries — critical for surgical planning applications.

- Ensemble of models: Combine predictions from multiple independently trained model checkpoints or architectures (e.g., U-Net + Swin-UNETR) using prediction averaging to improve robustness and reduce variance.

- Test-time augmentation (TTA): Apply random flips, rotations, and intensity jitter during inference, then average the augmented predictions to reduce prediction noise and improve Dice scores.

- Larger batch training: Access to A100 or H100 GPUs would allow batch sizes of 2–4, enabling Batch Normalisation and more stable gradient estimates, potentially improving convergence speed and final performance.

- Self-supervised pretraining: Pretrain the encoder on large unlabelled MRI datasets using masked autoencoder objectives before fine-tuning on BraTS 2021, to leverage the broader distribution of brain anatomy.

Final Summary

This project successfully designed, implemented, and evaluated a 3D U-Net architecture for multi-class brain tumour segmentation on the BraTS 2021 dataset. Three patch extraction and inference strategies were systematically compared — Random Crop, Tumor-Aware Crop, and Sliding Window Inference — with sliding window producing the most stable and clinically relevant validation performance.

The project demonstrates practical competency across the full deep learning pipeline:

| Domain | Key Competency Demonstrated |
| --- | --- |
| Architecture | 3D U-Net design, skip connections, encoder–decoder structure |
| Preprocessing | Z-score normalisation, NIfTI handling, label remapping, patch extraction |
| Loss Design | Dice Loss, Cross Entropy, combined loss ablation study |
| Training | Adam optimisation, LR scheduling, AMP, checkpoint management |
| Evaluation | Per-class Dice Score, single-patch vs full-volume inference |
| Infrastructure | Multi-platform training (Colab/Kaggle), GPU crash recovery, I/O optimisation |

The challenges encountered — GPU instability, large data volumes, platform migration — reflect the real-world difficulties of applied medical image segmentation research. Overcoming these required not only modelling expertise but also strong systems thinking and engineering adaptability.